NATIONAL QUALIFICATION

13UY0147-5

CHEMISTRY LABORATORY SUPERVISOR

LEVEL 5

# REVISION NO:

VOCATIONAL QUALIFICATION AUTHORITY

Ankara, 2013

# PREFACE

This reference guide, namely Chemistry Laboratory Supervisor (level 5) National Qualification was prepared in accordance with the provisions of the “Regulation on Vocational Qualifications, Testing and Certification” issued pursuant to the Vocational Qualifications Authority (VQA) Law no 5544.

Draft Qualification was prepared by KİPLAS – Turkish Chemical, Petroleum, Rubber, and Plastic Industry Employers’ Association and TKSD – Turkish Chemistry Industrialists’ Association based upon the protocol signed on 07 October 2010.  After assessing opinions of the relevant organizations and institutions, the draft has been amended accordingly. The final draft was evaluated by the VQA’s Chemical, Petroleum, Rubber, and Plastic Industry Committee, which deemed it suitable. It was approved by the Board of Directors of the VQA through its decision no 2013/26 of 03 April 2013 and decided to be placed within the National Qualification Framework (NQF).

We would like to extend our gratitude to all people, organizations and institutions that have expressed their opinions and contributed to the preparation, examination and verification processes of the qualification. We would like to offer it to the service of all likely beneficiaries.

Vocational Qualification Authority

# INTRODUCTION

The key criteria referred to in the national qualification preparation process, the relevant sector committees’ review and the VQA’s Board of Directors’ approval processes are set in the Regulation on Vocational Qualification, Testing and Certification.

National qualification is defined by,

- Name and level of the qualification,

- Aim and rationale of the qualification,

- Occupational standard, occupational standard units or qualification units which for the basis for the qualification,

- Training and experience criteria (form, content, duration etc) necessary for the qualification,

- Learning outcomes necessary to acquire the qualification,

- Assessment procedures and principles to be applicable to in the acquisition of the qualification, minimum testing materials and assessor criteria necessary for assessment,

- Validity of the qualification certificate, renewal conditions, supervision of the certificate holder if deemed necessary,

- Institution developing the qualification and Sector Committee verifying the Qualification.

National qualifications are built according to the relevant national occupational standard if there is one or to the relevant international occupational standard if there is none at the national level.

National qualifications are set in cooperation with the below bodies

- Formal and non-formal education and training institutions,

- Authorized Certification Bodies,

- Institutions having pre-applied for certification to the authority,

- Institutions having drawn up national occupational standard,

- Professional organizations.

NATIONAL OCCUPATIONAL STANDARD TITLED 13UY0147-5 CHEMISTRY LABORATORY SUPERVISOR (LEVEL 5)

| 1 | NAME OF QUALIFICATION | Chemistry Laboratory Supervisor |
| --- | --- | --- |
| 2 | REFERENCE CODE | 13UY0147-5 |
| 3 | LEVEL | 5 |
| 4 | INTERNATIONAL CLASSIFICATION CODE | ISCO 08:3111 |
| 5 | TYPE | - |
| 6 | CREDIT VALUE | - |
| 7 | A) DATE OF PUBLICATION | 03/04/2013 |
|  | B) REVISION NO | 00 |
|  | C) REVISION DATE | - |
| 8 | AIM | Purpose; For performing the occupation titled Chemistry Laboratory Supervisor (Level 5) in the chemistry and physical analyses laboratories in different sectors succcessfully, efficiently and in accordance with the international standards, meeting the employees’ requirement for work satisfaction; carrying out the production completely, with high quality; developing and carrying out the work; To define the knowledge, skills and competencies required for the candidates, To enable candidates to prove with a valid and reliable document their professional competence. To provide reference and source to the education system, examination certification authorities. |
| 9 | OCCUPATIONAL STANDARD(S) FORMING THE BASIS FOR THE QUALIFICATION |  |
| Chemistry Laboratory Supervisor (Level 5) National Vocational standard - 10UMS0090-5 |  |  |
| 10 | REQUIREMENTS TO TAKE QUALIFICATION TEST |  |
| - |  |  |
| 11 | STRUCTURE OF QUALIFICATION |  |
| 11-a) Compulsory Units |  |  |
| 13UY0147-5/A1 Occupational Health & Safety, Environmental Protection 13UY0147-5/A2 Quality Management System & Professional Development 13UY0147-5/A3 Laboratory (Input, Major Activity and Output) Management |  |  |
| 11-b) Elective Units |  |  |
| - |  |  |
| 11-c) Alternatives for Grouping of Units and Additional Learning Outcomes |  |  |
| - |  |  |

| 12 | ASSESSMENT |  |
| --- | --- | --- |
| Measurement and evaluation will be applied in two stages as to meet all success criteria described in the units. - Theoretical Knowledge exam - Performance-Based Practice Examination (monitoring when doing the work) The candidate must be successful in the units A1, A2, and A3 in order to get qualification. The candidate must be successful in the theoretical knowledge examinations in order to be accepted to the Performance-Based Practice Examination Validity period of test results is 1 year beginning from the date of tests. Candidates who failed at least one of the examinations defined for items (theoretical or performance-based) are entitled to take test which they failed. However; candidates who fail to pass the practice exam of occupational health and safety, environmental protection, will be deemed to be unsuccessful from the practice examination of other unit. Candidates, who will be successful from exam of occupational health and safety, environmental protection unit and fail to pass the examinations of other unit, will be exempted from the examinations of occupational health and safety, environmental protection and will be able to take part in the examination of failed unit within one year. THEORETICAL KNOWLEDGE EXAMINATION The success of the candidate will be evaluated according level to meet the criteria of assessment of the related unit. The evaluation of each unit will be done separately. The test questions shall be designed to measure all learning outcomes and performance criteria stipulated to be measured within the scope of the whole theoretical test. PERFORMANCE-BASED PRACTICE EXAMINATION The test is carried out in the real work environment or controlled environment fulfilling the most real-like conditions. The performance will be evaluated on control lists and/or question lists in format of scenarios, of which parameters to meet success criteria of the unit and points have been defined. The control lists consist of critical action steps divided into small pieces of the work and the candidates get points at each step. The performance-based practice examinations will be designed as to measure all learning outcomes and success criteria, provided for measurement with the practice examination. The performance-based practice examinations will be carried out in an integral manner, but each unit will be evaluated separately. The success of the candidate will be evaluated according level to meet the criteria of assessment of the related unit. Note: Candidates are expected to behave according to the rules of occupational health and safety in the performance-based practice exams. Candidates acting contrary to this will be taken out of the exam and it will not be allowed to take part in other stages of the performance-based practice exam. |  |  |
| 13 | VALIDITY OF CERTIFICATE | The validity period of the qualification certificate is 5 years beginning from the date of issue. |
| 14 | FREQUENCY OF SURVEILLANCE | Candidate shall be subject to surveillance by Assessment Institution at least once within validity period of Vocational Qualification Certificate. |

|  |  | This supervision is carried out upon the approval of the Supervision and Service Report Form; prepared by the Certification Body; by the representative of the Certificate Owner. Holder of certificate shall be evaluated being subject to surveillance at least once beginning from the end of second (2nd) year. |
| --- | --- | --- |
| 15 | ASSESSMENT METHODS TO BE FOLLOWED IN RENEWAL OF EXPIRED CERTIFICATES | Surveillance inspection shall be performed at the end of validity period of the certificate. Certifying that he/she has been actually working in the occupation titled Chemistry Laboratory Supervisor (Level 5) for three (3) years within the certificate’s validity period constitutes the basis for this supervision. The period being away from the profession shall not exceed consecutive two (2) years, owners of certificates, whose working period will be evaluated as adequate due to surveillance monitoring, which will be made within the validity period of the certificate (beginning from the 2nd year) and after the end of the validity of the certificate (beginning from the end of 5th year) will be evaluated as adequate. The certificates of qualified certificate owners are extended for 5 (five) years more without testing. The certificate owners failing to fulfill the required working period within the certificate’s validity period can retake the test Explained in the assessment & evaluation system; succeed and update their certificates. In order to extend the validity of the document after the end of the second five year, it is necessary to take part in the measurement and evaluation examination. The documents of those, who will be successful in the examination, will be extended for five years. |
| 16 | QUALIFICATION DEVELOPMENT INSTITUTION(S) | KİPLAS – TURKISH CHEMICAL, RUBBER, AND PLASTIC INDUSTRY EMPLOYERS UNION Turkish Chemistry Industrialists’ Association (TKSD) |
| 17 | SECTOR COMMITTEE TO VERIFY QUALIFICATION | VQA Chemistry, Petroleum, Rubber, and Plastic Sector Committee |
| 18 | DATE AND NUMBER OF APPROVAL BY VQA BOARD OF DIRECTORS | 03/04/2013-2013/26 |

## 12UY0169-5 / A1 OCCUPATIONAL HEALTH & SAFETY AND ENVIRONMENTAL PROTECTION QUALIFICATION ITEM

| 1 | NAME OF QUALIFICATION UNIT | Occupational Health and Safety, Environment Protection |  |
| --- | --- | --- | --- |
| 2 | REFERENCE CODE | 13UY0147-5/ A1 |  |
| 3 | LEVEL | 5 |  |
| 4 | CREDIT VALUE | - |  |
| 5 | A) DATE OF PUBLICATION B) REVISION NO C) REVISION DATE | 03/04/2013 |  |
|  |  | 00 |  |
|  |  | - |  |
| 6 | OCCUPATIONAL STANDARD(S) FORMING THE BASIS FOR THE QUALIFICATION |  |  |
| Chemistry Laboratory Supervisor (Level 5) National Vocational standard - 10UMS0090-5 |  |  |  |
| 7 | LEARNING OUTCOMES |  |  |
| Learning Outcome 1: Applies the precautions taken in relation to occupational health and safety. Performance Criteria: 1.1. Works in accordance with workplace rules and regulations related to the Occupational Health and Safety. 1.2. Contributes to the activities related to determination of risks. 1.3. Carries out the emergency procedures. Learning Outcome 2: Works in accordance with environmental protection legislation. Performance Criteria: 2.1. Explains occupation-specific requirements of environmental legislation. 2.2. Contributes to decrease environmental risks. |  |  |  |
| 8 | ASSESSMENT |  |  |
| 8 a) Theoretical Examination |  |  |  |
| (T): The theoretical test for Unit A1 in the occupation titled Chemistry Laboratory Supervisor (Level 5) is performed according to the “Data” check list included in Annex 2. A question system of multiple-choice will be used. At least 20 questions shall be asked for A1 item. Each question has equal point. The candidate should score at least 70 %. The examination time per question is 1.5-2 minutes. The exam questions will be designed, as to measure all success criteria in this unit. |  |  |  |
| 8 b) Performance based Examination |  |  |  |
| (P): In Chemistry Laboratory Supervisor (Level 5) occupation the examination for A1 unit depending on performance is carried out in application platform according to control list of “Capabilities and Competencies” taking place in Annex A12. Critical steps to succeed shall be specified in the checklist. The candidate has to succeed 80% of the overall test provided that he/she shall succeed all the critical steps to be successful in the performance test. The performance-based practice test time shall correspond to the real time under the laboratory conditions. |  |  |  |
| 8 c) Other Assessment related conditions |  |  |  |
| The candidate must be successful at both exams described in this unit. The candidate failing theoretical exam of this unit cannot take practical exam. The candidate can take the test which he/she has failed within 1 year. However, in case of having a break more than 1 year, s/he has to take both examinations described in the unit, again. |  |  |  |
| 9 | QUALIFICATION DEVELOPMENT INSTITUTION(S)/ORGANIZATIONS(S) |  | KİPLAS – TURKISH CHEMICAL, RUBBER, AND PLASTIC INDUSTRY EMPLOYERS UNION Turkish Chemistry Industrialists’ Association (TKSD) |
| 10 | SECTOR COMMITTEE TO VERIFY QUALIFICATION UNIT |  | VQA Chemistry, Petroleum, Rubber, and Plastic Sector Committee |
| 11 | DATE AND NUMBER OF APPROVAL BY VQA BOARD OF DIRECTORS |  | 03/04/2013-2013/26 |

### ANNEXES

ANNEX A1-1: Information on Recommended Training to Earn a Qualification Unit

### Content of Training:

- Labor Law

- Occupational Health and Safety Legislation

  - Occupational Health and Safety Instructions

  - Storage of chemical substances

  - Safe work with chemicals and material safety data sheet

  - Accident Prevention Instructions

  - Personal Protective Equipment

  - Protection measures in various machines

  - Information of treatment and first aid in case of accident

  - dangers of electrical current

  - Health and safety risks in workplace and any and all kinds of protective, preventive, and corrective activities to be carried on against them

  - Rights and Obligations of Workers

  - First aid, evacuation, and fire fighting

  - Risk evaluation and management

  - Physical, chemical, and biological risk factors

  - Safe use of machinery, equipment, and devices

  - Work accidents and occupational diseases

- Emergency

- Environmental Awareness and Environmental Protection

  - Environmental and human health

  - Ecology

  - Environmental pollution

    - Radioactive pollution

    - Water resources and water pollution

    - air pollution and control

    - Noise pollution and control

    - Soil Pollution

  - Waste Management

  - Recovery /Recycle

  - Environmental problems arising from chemical sector

  - Efficient use of natural resources

  - Environmental Management Systems

ANNEX A3-2: Check List to Be Used In Assessment & Evaluation of Qualification Unit

### DATA

| No | Expression of Information | NVS | QI Success Criterion | Assessment Tool |
| --- | --- | --- | --- | --- |
| BG.1 | Explains the workplace rules and regulations related to the Occupational Health and Safety. | A.1.1, A.1.4 | 1.1 | T |
| BG.2 | Explains the hazards and risks to be faced regarding the Occupational Health and Safety. | A.2.1, A.2.3 | 1.2 | T |
| BG.3 | Explains what he/she has to do in emergency cases. | A.3.1, A.3.6 | 1.3 | T |
| BG.4 | Contributes to the works of risk assessment and emergency plans. | A.3.2 | 1.3 | P |
| BG.5 | Explains what can be done regarding decreasing environmental risks and achieving environmental objectives. | B.1.1, B.1.3 | 2.1 | T |
| BG.6 | Explains the activities to be carried out regarding observing environmental impacts and taking measures. | B.1.3 | 2.1 | T |
| BG.7 | Explains the procedures for safe storage of explosive, inflammable and hazardous substances. | B.2.1 | 2.2 | T |
| BG.8 | Explains the measures to be taken against spillages and leakages. | B.2.2 | 2.2 | T |

- SKILLS & QUALIFICATIONS

| No | Expression of Skill and Competency | NVS | QI Success Criterion | Assessment Tool |
| --- | --- | --- | --- | --- |
| BY.1 | Uses the Personal Protective Equipment (PPE) suitable for the work performed. | A.1.2 | 1.1 | P |
| BY.2 | Works according to the instructions related to the Occupational Health and Safety protection and response tools (such as emergency stop button). | A.1.3 | 1.1 | P |
| BY.3 | Recognizes the safety and health signs related to the work performed and works according to such signs. | A.1.4 | 1.1 | P |
| BY.4 | Takes and ensures that the required measures are taken for the determined states of emergency. | A.3.1 | 1.3 | P |
| BY.5 | Applies the special emergency case procedures for the equipment used. | A.3.4 | 1.3 | P |
| BY.6 | Applies the exit and escape procedures in emergency cases. | A.3.5 | 1.3 | P |
| BY.7 | Ensures that the explosive, inflammable and hazardous substances are stored safely. | B.2.1 | 2.2 | P |
| BY.8 | Keeps/Ensures that the appropriate apparatus, material and equipment to be used against spillages and leakages are kept available. | B.2.2 | 2.2 | P |
| BY.9 | Takes the measures against the dangerous and hazardous wastes in accordance with the instructions given and carries out their temporary maintenance. | - | 2.2 | P |

## 13UY0147-5/A2 QUALITY MANAGEMENT SYSTEM AND OCCUPATIONAL DEVELOPMENT QUALIFICATION ITEM

| 1 | NAME OF QUALIFICATION UNIT | Quality Management system and Occupational Development |  |
| --- | --- | --- | --- |
| 2 | REFERENCE CODE | 13UY0147-5/ A2 |  |
| 3 | LEVEL | 5 |  |
| 4 | CREDIT VALUE | - |  |
| 5 | A) DATE OF PUBLICATION B) REVISION NO C) REVISION DATE | 03/04/2013 |  |
|  |  | 00 |  |
|  |  | - |  |
| 6 | OCCUPATIONAL STANDARD(S) FORMING THE BASIS FOR THE QUALIFICATION |  |  |
| Chemistry Laboratory Supervisor (Level 5) National Vocational standard - 10UMS0090-5 |  |  |  |
| 7 | LEARNING OUTCOMES |  |  |
| Learning Outcome 1: Works in accordance with the quality management system. Performance Criteria: - 1.1. Applies quality requirements of the work. - 1.2. Applies the technical procedures for quality maintenance. - 1.3. Controls the quality of the works done. 1.4. Applies methods regarding elimination of detected nonconformities in the processes. - 1.5. Prepares / gets prepared all the documentation within the scope of the quality management system during analysis process. Learning Outcome 2: Organizes vocational development activities. Performance Criteria: 2.1. Organizes trainings in accordance with training requirements. 2.2. Follows up methods, new technologies, and developments related to his occupation. |  |  |  |
| 8 | ASSESSMENT |  |  |
| 8 a) Theoretical Examination |  |  |  |
| (T): The theoretical test for Unit A1 in the occupation titled Chemistry Laboratory Supervisor (Level 5) is performed according to the “Data” check list included in Annex 2. A question system of multiple-choice will be used in theoretical test. At least 15 questions shall be asked for A2 item. Each question has equal point. The candidate should score at least 60 %. The examination time per question is 1.5-2 minutes. The exam questions will be designed, as to measure all success criteria in this unit. |  |  |  |
| 8 b) Performance based Examination |  |  |  |
| (P): In Chemistry Laboratory Supervisor (Level 5) occupation the examination for A2 unit depending on performance is carried out in application platform according to control list of “Capabilities and Competencies” taking place in Annex 2. Critical steps to succeed shall be specified in the checklist. The candidate has to succeed 70% of the overall test provided that he/she shall succeed all the critical steps to be successful in the performance test. The performance-based practice test time shall correspond to the real time under the laboratory conditions. |  |  |  |
| 8 c) Other Assessment related conditions |  |  |  |
| The candidate must be successful at both exams described in this unit. The candidate failing theoretical exam of this unit cannot take practical exam. The candidate failing in practice exam of A1 unit is deemed to be unsuccessful in practice exam of A2 unit, as well. The candidate can take the test which he/she has failed within 1 year. However, in case of having a break more than 1 year, s/he has to take both examinations described in the unit, again. |  |  |  |
| 9 | QUALIFICATION DEVELOPMENT INSTITUTION(S)/ORGANIZATIONS(S) |  | KİPLAS – TURKISH CHEMICAL, RUBBER, AND PLASTIC INDUSTRY EMPLOYERS UNION Turkish Chemistry Industrialists’ Association (TKSD) |
| 10 | SECTOR COMMITTEE TO VERIFY QUALIFICATION UNIT |  | VQA Chemistry, Petroleum, Rubber, and Plastic Sector Committee |
| 11 | DATE AND NUMBER OF APPROVAL BY VQA BOARD OF DIRECTORS |  | 03/04/2013-2013/26 |

### ANNEXES

ANNEX A2-1: Information on Recommended Training to Earn a Qualification Unit

### Content of Training:

- Basic concepts and definitions of quality management system

- Documentation and reporting in the  quality management system

- Electronic and mechanical measurement tools used in quality assurance,

- Advertising and informational value of brand, publicity and quality mark

- Basic knowledge on error and fault prevention

- Good Laboratory Practices (GLP)

- ISO 9000 Quality Standards

- Statistical Process Control and Basic Knowledge of Statistics

- Troubleshooting techniques

- Total Effective Maintenance

ANNEX A3-2: Check List to Be Used In Assessment & Evaluation of Qualification Unit

### DATA

| No | Expression of Information | NVS | QI Success Criterion | Assessment Tool |
| --- | --- | --- | --- | --- |
| BG.1 | Explains the quality requirements related to the work. | C.1.1- C.1.3 | 1.1 | T |
| BG.2 | Explains the technical procedures for maintaining the quality. | C.2.1- C.2.3 | 1.2 | T |
| BG.3 | Lists the quality control operations for the works performed. | C.3.1- C.3.3 | 1.3 | T |
| BG.4 | Explains the procedures for recovering nonconformities determined in the processes. | C.4.1 - C.4.4 | 1.4 | T |
| BG.5 | Explains all the documentation operations within the scope of the quality management system during the analysis process. | C.2.3 | 1.5 | T |
| BG.6 | Explains the operations for training requirements analysis and research activities. | H.1.1 | 2.1 | T |
| BG.7 | Explains that he/she has to follow up the developments related to the methods of chemical analysis and emerging technologies. | H.2.1 | 2.2 | T |

- SKILLS & QUALIFICATIONS

| No | Expression of Skill and Competency | NVS | QI Success Criterion | Assessment Tool |
| --- | --- | --- | --- | --- |
| BY.1 | Applies the quality requirements according to the instructions and plans in the process forms. | C.1.1 | 1.1 | P |

| No | Expression of Skill and Competency | NVS | QI Success Criterion | Assessment Tool |
| --- | --- | --- | --- | --- |
| BY.2 | Applies the quality requirements according to the tolerances and deviations allowed in practice. | C.1.2 | 1.1 | P |
| BY.3 | Applies quality maintenance techniques according to the type of process to be carried out. | C.2.1 | 1.2 | P |
| BY.4 | Supervises the conformity of the settings of machine, tool, apparatus or system with the user’s manuals and the conditions in the nationally/internationally accepted test standards. | C.3.2 | 1.3 | P |
| BY.5 | Supervises the conformity of the device or system maintained or repaired with the technical specifications. | C.3.3 | 1.3 | P |
| BY.6 | Keeps the logs of error and failures detected during the operation. | C.4.1 | 1.4 | P |
| BY.7 | Applies the procedures for error and failure recovery. | C.4.3 | 1.4 | P |
| BY.8 | Fills in the quality form related to the work. | C.2.3 | 1.5 | P |

## 13UY0147-5/A3 LABORATORY (INPUT, MAIN ACTIVITY, AND OUTPUT) MANAGEMENTQUALIFICATION ITM

| 1 | NAME OF QUALIFICATION UNIT | Laboratory (Input, Major Activity and Output) Management |  |
| --- | --- | --- | --- |
| 2 | REFERENCE CODE | 13UY0147-5/ A3 |  |
| 3 | LEVEL | 5 |  |
| 4 | CREDIT VALUE | - |  |
| 5 | A) DATE OF PUBLICATION | 03/04/2013 |  |
|  | B) REVISION NO | 00 |  |
|  | C) REVISION DATE | - |  |
| 6 | OCCUPATIONAL STANDARD(S) FORMING THE BASIS FOR THE QUALIFICATION |  |  |
| Chemistry Laboratory Supervisor (Level 5) National Vocational standard - 10UMS0090-5 |  |  |  |
| 7 | LEARNING OUTCOMES |  |  |
| Learning Outcome 1: Makes input, major activity, and output planning. Performance Criteria: - 1.1. Determines laboratory targets. - 1.2. Prepares quality plan. - 1.3. Makes laboratory resource planning according to the work instructions, customer requests, technological developments and objectives. - 1.4. Makes calibration/verification/validation and maintenance & repair planning. - 1.5. Prepares participation plan in the inter-laboratory comparison/qualification tests. - 1.6. Prepares laboratory waste management plan. - 1.7. Plans laboratory record management. Learning Outcome 2: Manages input, major activity, and output operations. Performance Criteria: - 2.1. Prepares instructions, procedures, and documents. - 2.2. Ensures supply of consumables, tools & equipments, and devices. - 2.3. Ensures being operable of laboratory tools & equipment and devices. - 2.4. Manages labor force. - 2.5. Performs / ensures being performed of calibration/verification/validation procedures. - 2.6. Takes / gets taken sample. - 2.7. Carries out analysis preparation procedures. - 2.8. Performs / gets performed of quantitative / qualitative analysis of sample. - 2.9. Ensures being stored of witness sample in accordance with instructions. - 2.10. Participates in the inter-laboratory comparison/qualification tests. - 2.11. Performs / gets performed the laboratory wastes separating operations. - 2.12. Carries out preparatory works for internal and external audits. - 2.13. Carries out laboratory activities to be carried out in relation with internal and external customers. Learning Outcome 3: Performs input, major activity, and output control operations. Performance Criteria: - 3.1. Controls instructions, procedures, and documents. - 3.2. Controls conformity of consumables, equipment and devices. 3.3. Controls laboratory environment conditions in accordance with instructions. 3.4. Controls calibration/validation/verification process. 3.5. Controls sampling and preparatory analysis process. 3.6. Controls analysis / test process. 3.7. Controls laboratory records and document management. 3.8. Controls performance indicators pertaining to the laboratory objectives. 3.9. Controls waste management applications. Learning Outcome 4: Contributes to input, major activity, and output improvement process. Performance Criteria: 4.1. Contributes to process of improving quantitative and qualitative qualification of consumables. 4.2. Contributes to process of improving laboratory tools & equipment and devices. 4.3. Carries out required works regarding with increasing productivity of labor force. 4.4. Contributes to process of improving instructions, procedures, and documents. 4.5. Carries out the works to improve and increase efficiency of sampling and analyzing process. 4.6. Participates in calibration/validation/verification process. 4.7. Carries out the works to improve records management process. |  |  |  |
| 8 | ASSESSMENT |  |  |
| 8 a) Theoretical Examination |  |  |  |
| (T): The theoretical test for Unit A1 in the occupation titled Chemistry Laboratory Supervisor (Level 5) is performed according to the “Data” check list included in Annex 2. A question system of multiple-choice will be used in theoretical test. Minimum 60 questions are asked for Unit A3. Each question has equal point. The candidate should score at least 70 %. The examination time per question is 1.5-2 minutes. The exam questions will be designed, as to measure all success criteria in this unit. |  |  |  |
| 8 b) Performance based Examination |  |  |  |
| (P): In Chemistry Laboratory Supervisor (Level 5) occupation the examination for A3 unit depending on performance is carried out in application platform according to control list of “Capabilities and Competencies” taking place in Annex 2. Critical steps to succeed shall be specified in the checklist. The candidate has to succeed 70% of the overall test provided that he/she shall succeed all the critical steps to be successful in the performance test. The performance-based practice test time shall correspond to the real time under the laboratory conditions. |  |  |  |
| 8 c) Other Assessment related conditions |  |  |  |
| The candidate must be successful at both exams described in this unit. The candidate failing theoretical exam of this unit cannot take practical exam. The candidate failing in practice exam of A1 unit is deemed to be unsuccessful in practice exam of A2 unit, as well. The candidate can take the test which he/she has failed within 1 year. However, in case of having a break more than 1 year, s/he has to take both examinations described in the unit, again. |  |  |  |
| 9 | QUALIFICATION DEVELOPMENT INSTITUTION(S)/ORGANIZATIONS(S) |  | KİPLAS – TURKISH CHEMICAL, RUBBER, AND PLASTIC INDUSTRY EMPLOYERS UNION Turkish Chemistry Industrialists’ Association (TKSD) |
| 10 | SECTOR COMMITTEE TO VERIFY QUALIFICATION UNIT |  | VQA Chemistry, Petroleum, Rubber, and Plastic Sector Committee |
| 11 | DATE AND NUMBER OF APPROVAL BY VQA BOARD OF DIRECTORS |  | 03/04/2013-2013/26 |

### ANNEXES

ANNEX A3-1: Information on Recommended Training to Earn a Qualification Unit

### Content of Training:

  - Glossary and Terms Related To The Chemistry Laboratory

  - Chemicals, Machinery, Devices, Equipment and Apparatus Used In The Chemistry Laboratory

  - Working Conditions For the Occupation Titled Chemistry Laboratory Supervisor

  - Laboratory Unit Operations

    - 4.1. Safe Working In The Laboratory

    - 4.2. Laboratory Equipment

    - 4.3. Mass Measurement

    - 4.4. Stereometry and Volume Calculations

    - 4.5. Density and Viscosity

    - 4.6. Mixtures and Segregation of Mixtures

    - 4.7. Chemical Changes and Calculations In Chemical Reactions

    - 4.8. Solutions

      - 4.8.1. Percent and Molar Solutions

      - 4.8.2. Normal and Molar Solutions

      - 4.8.3. PPM and PPB

      - 4.8.4. Dilution and Concentration of Solutions

    - 4.9. Acids and Bases

    - 4.10. Salts and Oxides

    - 4.11. Gases and Their Specifications

  - Methods of Quali-Quantitative Analysis

  - 5.1. Physical Controls and Physical Control Tests

  - 5.2. Gravimetric Analyses

    - 5.2.1. Gravimetric Analysis Conditions

    - 5.2.2. Process Steps In Gravimetric Analysis

    - 5.2.3. Gravimetric Factor

    - 5.2.4. Error Sources In Gravimetric Analysis

  - 5.3. Volumetric Analysis

    - 5.3.1.Stages of Volumetric Analysis

      - 5.3.1.1. Preparation of Sample For Analysis

      - 5.3.1.2. Indicator Selection

      - 5.3.1.3. Preparation of Standard Solution

      - 5.3.1.4. Adjustment Against Primary Standard Substance

      - 5.3.1.5. Adjustment Against Secondary Standard Substance

      - 5.3.1.6. Factor Detection

    - 5.3.2. Titration and  Back Titration

      - 5.3.2.1. Back Titration

      - 5.3.2.2. Equivalence Point

      - 5.3.2.3. End Point

      - 5.3.2.4. Requirements For All Titrations

    - 5.3.3. Acid-Base Titrations

    - 5.3.4. Precipitation Titrations

    - 5.3.5. Complexometric Titrations

5.3.6. Redox  Titrations

  - 5.4. Instrumental Analyses

    - 5.4.1. Preliminary Preparation In Instrumental Analyses

    - 5.4.2. Spectroscopy

      - 5.4.2.1. Spectrophotometer

      - 5.4.2.2. Atomic Absorption Spectrophotometer

    - 5.4.3. Refractometry

    - 5.4.4. Polarimetry

    - 5.4.5. Chromatography

    - 5.4.6. Potentiometry

    - 5.4.7. Conductimetry

    - 5.4.8. Colourimetry

    - 5.4.9. Turbidimetry

    - 5.4.10. Fluorometry

    - 5.4.11. Electrolysis

    - 5.4.12. Electrogravimetry

  - Organic Chemistry

  - 6.1. Aliphatic Hydrocarbons

  - 6.2. Alcohols

  - 6.3. Ethers

  - 6.4. Aldehydes

  - 6.5. Ketones

  - 6.6. Carboxylic Acids

  - 6.7. Nitro Aliphatic Compounds

  - 6.8. Esters and Oils

  - 6.9. Aromatic Compunds

  - Sampling

  - 7.1. Sampling of Solids

  - 7.2. Sampling of Liquids

  - 7.3. Sampling of Gases

  - Chemical Equilibrium

  - Solubility and Solubility Product

  - Weak Acid-Base Equilibria and pH

  - Hydrolysis Buffer Solutions

  - Thermodynamics and Thermochemistry

  - Chemical Kinetics and Reaction Rates

  - Radioactivity

  - Heat of Reaction and Hess Law

  - Good Laboratory Practices (GLP)

  - Calibration

  - Assessment of Analysis Results

  - Laboratory Records

19.1. Reasons For Keeping Records In Laboratory

19.2. Types of Record

19.3. Report Preparation

  - Post Analysis Laboratory Cleaning

  - Laboratory Cleaning

  - Cleaning of Glass Materials

  - Cleaning of Other Materials

  - General Laboratory Controls

  - WASTE SEGREGATION AND STORAGE

  - Storage of Chemical Wastes

Storage of Liquid Wastes

Storage of Solid Wastes

Storage of Domestic Wastes

  - Communication

  - Communication Basics

  - Time Management

  - Leadership

  - Team Work

  - Communication In Different Social Environments

  - Types of Behavior

ANNEX A3-2: Check List to Be Used In Assessment & Evaluation of Qualification Unit

### DATA

| No | Expression of Information | NVS | QI Success Criterion | Assessment Tool |
| --- | --- | --- | --- | --- |
| BG.1 | Describes how to detect the deviations for the previous period’s objectives. | D.1.1, D.1.2 | 1.1 | T |
| BG.2 | Decides how to determine the next period’s (yearly, monthly, weekly, and etc.) objectives for improvement according to the customer, process, finance and learning dimension. | D.1.3 | 1.1 | T |
| BG.3 | Explains how to carry out the procedures for preparation of quality control plan. | D.2.1- D.2.5 | 1.2 | T |
| BG.4 | Describes how to carry out the procedures for laboratory resource planning. | D.3.1- D.7.5 | 1.3 | T |
| BG.5 | Explains the calibration/verification/validation and maintenance & repair planning procedures. | D.5.1- D.5.5 | 1.4 | T |
| BG.6 | Defines the procedures for preparation of participation plan in the inter-laboratory comparison/qualification tests. | D.6.1 - D.6.3 | 1.5 | T |
| BG.7 | Explains the procedures for preparation of laboratory waste management plan. | D.8.1- D.8.2 | 1.6 | T |
| BG.8 | Explains the laboratory record management planning procedures. | D.9.1 - D.9.4 | 1.7 | T |

| No | Expression of Information | NVS | QI Success Criterion | Assessment Tool |
| --- | --- | --- | --- | --- |
| BG.9 | Describes how to prepare instructions, procedures and documents. | E.1.1 - E.1.4 | 2.1 | T |
| BG.10 | Describes how to supply consumable materials, equipment and devices. | E.2.1 - E.2.4 | 2.2 | T |
| BG.11 | Lists the procedures for operation of the laboratory equipment and devices. | E.3.1- E.3.6 | 2.3 | T |
| BG.12 | Explains how he/she shall manage the labour. | E.4.1- E.4.4 | 2.4 | T |
| BG.13 | Describes how to carry out the calibration/verification/validation procedures. | E.9.1- E.9.8 | 2.5 | T |
| BG.14 | Explains the sampling procedures respectively. | E.5.1- E.5.7 | 2.6 | T |
| BG.15 | Lists the analysis preparation procedures. | E.6.1- E.6.4 | 2.7 | T |
| BG.16 | Describes how to carriy out the sample’s quali-quantitative analysis procedures. | E.7.1- E.7.8 | 2.8 | T |
| BG.17 | Describes how to store the blank sample according to the instructions. | E.8.1- E.8.5 | 2.9 | T |
| BG.18 | Describes how to carry out the inter-laboratory comparison/qualification tests. | E.11.1- E.11.5 | 2.10 | T |
| BG.19 | Explains how he/she shall segregate the laboratory wastes. | E.12.1 - E.12.3 | 2.11 | T |
| BG.20 | Lists the preparation procedures for internal and external audits. | E.13.1 - E.13.5 | 2.12 | T |
| BG.21 | Determines the laboratory activities to be carried out related to the internal and foreign customers. | E.14.1- E.14.6 | 2.13 | T |
| BG.22 | Determines the points to control the instructions, procedures and documents respectively. | F.1.1 - F.1.4 | 3.1 | T |
| BG.23 | Explains the control process for conformity of consumable materials, equipment and devices. | F.2.1- F.2.6 | 3.2 | T |
| BG.24 | Explains the laboratory environment conditions. | F.3.1- F.3.7 | 3.3 | T |
| BG.25 | Describes how to control the calibration/verification/validation process. | F.4.1- F.4.5 | 3.4 | T |
| BG.26 | Describes how he/she shall control the process of preparation for sampling and analysis. | F.5.1- F.5.6 | 3.5 | T |
| BG.27 | Explains the procedures for controlling the analysis/test process. | F.6.1- F.6.9 | 3.6 | T |

| No | Expression of Information | NVS | QI Success Criterion | Assessment Tool |
| --- | --- | --- | --- | --- |
| BG.28 | Describes the procedures for controlling the laboratory record and document management. | F.7.1 - F.7.5 | 3.7 | T |
| BG.29 | Compares the performance indicators related to the laboratory objectives. | F.8.1- F.8.4 | 3.8 | T |
| BG.30 | Lists the procedures for controlling waste management practices. | F.9.1- F.9.4 | 3.9 | T |
| BG.31 | Explains the procedures for improvement of quali-quantitative qualifications of consumable materials. | G.1.1 - G.1.4 | 4.1 | T |
| BG.32 | Describes the procedures he/shall carry out for improvement of laboratory equipment and devices. | G.2.1- G.2.6 | 4.2 | T |
| BG.33 | Decides the works to be carried out for increasing the labour productivity. | G.3.1- G.3.5 | 4.3 | T |
| BG.34 | Defines the procedures related to the improvement (development) process of instructions, procedures and documents. | G.4.1- G.4.6 | 4.4 | T |
| BG.35 | Explains the procedures for increasing and improving the efficiency of sampling and analysis process. | G.5.1- G.5.13 | 4.5 | T |
| BG.36 | Describes the procedures for the improvement of calibration/verification/validation process. | G.6.1- G.6.7 | 4.6 | T |
| BG.37 | Explains the works for improvement of records management process. | G.7.1 - G.7.6 | 4.7 | T |

- SKILLS & QUALIFICATIONS

| No | Expression of Skill and Competency | NVS | QI Success Criterion | Assessment Tool |
| --- | --- | --- | --- | --- |
| BY.1 | Determines, assesses and records the deviations from the previous period’s objectives. | D.1.2 | 1.1 | P |
| BY.2 | Determines the analysis methods for parameters. | D.2.5 | 1.2 | P |
| BY.3 | Determines the type and amount of consumable materials required according to the work instructions and determines the minimum stock level. | D.3.1 | 1.3 | P |
| BY.4 | Carries out stock control of consumable materials. | D.3.2 | 1.3 | P |
| BY.5 | Compares the required amount with the stock amount. | D.3.3 | 1.3 | P |
| BY.6 | Keep the records of consumable material requirement planning. | D.3.4 | 1.3 | P |
| BY.7 | Determines the type and number of equipment and devices required according to the work instructions, customer requests, technological developments and objectives. | D.4.1 | 1.3 | P |

| No | Expression of Skill and Competency | NVS | QI Success Criterion | Assessment Tool |
| --- | --- | --- | --- | --- |
| BY.8 | Determines the available equipment and devices. | D.4.2 | 1.3 | P |
| BY.9 | Assesses the performances and technological qualification of available equipment and devices; determines the equipment and devices to be replaced and improved. | D.4.3 | 1.3 | P |
| BY.10 | Controls the reserves and spare parts of devices, equipment per their priority. | D.4.4 | 1.3 | P |
| BY.11 | Determines the alternative equipment and device in case of deficiency. | D.4.5 | 1.3 | P |
| BY.12 | Makes the purchase planning by contacting the related units. | D.4.6 | 1.3 | P |
| BY.13 | Determines/ensures the determination of whether the device’s calibration date has expired or not according to thedevice’s forms and labels. | E.9.1 | 2.5 | P |
| BY.14 | Determines/ensures the determination of the appropriate calibrator and/or standard substance/material for calibration verification. | E.9.3 | 2.5 | P |
| BY.15 | Customizes/ensures that the laboratory environment is customized for calibration verification (humidity, temperature, pressure, lighting, dust, vibration and etc.). | E.9.4 | 2.5 | P |
| BY.16 | Operationalizes/ensures that the calibration verification standards are operationalized. | E.9.4 | 2.5 | P |
| BY.17 | Supplies/ensures that the auxiliary equipment required for calibration verification are supplied by controlling their conformity. | E.9.4 | 2.5 | P |
| BY.18 | Records/ensures that the results are recorded by carrying out the calibration verification procedure stated in the instructions. | E.9.5 | 2.5 | P |
| BY.19 | Compares/ensures the comparison of the average values with the reference value according to the output results. | E.9.6 | 2.5 | P |
| BY.20 | Records/ensures the recording by using the calculation procedure given by the instructions and finding the standard deviation value. | E.9.6 | 2.5 | P |
| BY.21 | Researches/ensures the research of reason for nonconformity in case of nonconformity in the results. | E.9.6 | 2.5 | P |
| BY.22 | Prepares/ensures the preparation of the calibration verification report according to the instructions. | E.9.7 | 2.5 | P |
| BY.23 | Prepares/ensures the preparation of the sample vessel. | E.5.4 | 2.6 | P |
| BY.24 | Carries out/ensures that the procedures for sampling and labelling are carried out. | E.5.5 | 2.6 | P |
| BY.25 | Carries/ensures that the samples is carried to the laboratory according to the relevant instructions. | E.5.6 | 2.6 | P |

| No | Expression of Skill and Competency | NVS | QI Success Criterion | Assessment Tool |
| --- | --- | --- | --- | --- |
| BY.26 | Records/ensures that the sample delivered to the laboratory is recorded; controls the records. | E.5.7 | 2.6 | P |
| BY.27 | Determines the analysis/test method to be applied. | E.6.1 | 2.7 | P |
| BY.28 | Prepares/ensures that the required devices, equipment and materials are prepared. | E.6.2 | 2.7 | P |
| BY.29 | Prepares/ensures the preparation of the required chemicals and solutions. | E.6.3 | 2.7 | P |
| BY.30 | Samples/ensures the sampling of the homogeneous analysis sample representing the sample. | E.6.4 | 2.7 | P |
| BY.31 | Carries out/ensures that the visual inspection of sample is carried out. | E.7.1 | 2.8 | P |
| BY.32 | Carries out/ensures that the physical analysis is carried out according to the instructions. | E.7.2 | 2.8 | P |
| BY.33 | Carries out/ensures that the gravimetric analysis is carried out according to the instructions. | E.7.3 | 2.8 | P |
| BY.34 | Carries out/ensures that the volumetric analysis is carried out according to the instructions. | E.7.4 | 2.8 | P |
| BY.35 | Carries out/ensures that the instrumental analysis is carried out according to the instructions. | E.7.5 | 2.8 | P |
| BY.36 | Carries out/ensures that the test verification is carried out. | E.7.6 | 2.8 | P |
| BY.37 | Assesses/ensures thhe assesment of the analysis results. | E.7.7 | 2.8 | P |
| BY.38 | Records/ensures that the results recorded. | E.7.7 | 2.8 | P |
| BY.39 | Makes/ensures that the preparations are made for the next test. | E.7.8 | 2.8 | P |
| BY.40 | Identifies/ensures the identification of; prepares/ensures the preparation of the blank sample vessel. | E.8.1 | 2.9 | P |
| BY.41 | Labels/ensures the labelling of the blank sample. | E.8.2 | 2.9 | P |
| BY.42 | Controls/ensures the control of blank sample storage conditions and period. | E.8.3 | 2.9 | P |
| BY.43 | Identifies/ensures the idenitification of the blank sample classes. | E.8.4 | 2.9 | P |
| BY.44 | Removes/ensures the removal of the samples of which storage period expired according to the waste management plan. | E.8.5 | 2.9 | P |
| BY.45 | Prepares the assessment report. | E.14.5 | 2.13 | P |
| BY.46 | Controls the up-to-dateness of the reference documents. | F.1.2 | 3.1 | P |
| BY.47 | Controls the conformity of the relevant instructions, procedures and documents with the up-to-date reference documents. | F.1.1 | 3.1 | P |

| No | Expression of Skill and Competency | NVS | QI Success Criterion | Assessment Tool |
| --- | --- | --- | --- | --- |
| BY.48 | Controls whether the instructions, procedures and documents are available in the required places. | F.1.3 | 3.1 | P |
| BY.49 | Controls whether the instructions and procedures are controlled copies. | F.1.4 | 3.1 | P |
| BY.50 | Controls the expiry dates of the chemicals. | F.2.2 | 3.2 | P |
| BY.51 | Controls the storage conditions of chemicals and compressed gas cylinders. | F.2.3 | 3.2 | P |
| BY.52 | Controls the consumption rate and stock amount of the consumable materials. | F.2.4 | 3.2 | P |
| BY.53 | Controls the calibration status of equipment and devices. | F.2.5 | 3.2 | P |
| BY.54 | Controls the verifications of equipment and devices. | F.2.6 | 3.2 | P |
| BY.55 | Controls the calculations and reports of calibration/verification and deviation from reference value. | F.4.4 | 3.4 | P |
| BY.56 | Controls the conformity and cleanness of devices, equipment, materials, chemicals and solutions required for the analysis/test. | F.5.5 | 3.5 | P |
| BY.57 | Controls that the blank sample shall be labelled in the proper vessel, stored under the appropriate conditions within the given period and removed at the end of the period according to the instructions. | F.6.7 | 3.6 | P |
| BY.58 | Carries out the statistical controls (standard deviation, repeatability, re-testing/re-analyzing, minimum limit of detection, minimum reporting limit, quality control cards and etc.) of the analyses/tests. | F.6.8 | 3.6 | P |
| BY.59 | Controls and inspects the results of interlaboratory comparison/qualification tests. | F.6.9 | 3.6 | P |
| BY.60 | Controls whether records are kept regarding all processes (test, calibration, personnel, ambient conditions, suppy, sample and etc.) carried out in the laboratories. | F.7.1 | 3.7 | P |
| BY.61 | Examines the amount of sample in terms of waste management and test precision and ensures that adequate amount of sample is taken. | G.5.2 | 4.5 | P |
| BY.62 | Examines the type of material of the sample vessel, fittings and label according to the sample’s specifications. | G.5.3 | 4.5 | P |
| BY.63 | Ensures that the optimum vessel which shall not effect the sample is used. | G.5.3 | 4.5 | P |

### QUALIFICATION ANNEXES

ANNEX 1:  Qualification Items

13UY0147-5/A1 Occupational Health & Safety, Environmental Protection

13UY0147-5/A2 Quality Management System & Professional Development

13UY0147-5/A3 Laboratory (Input, Major Activity and Output) Management

ANNEX 2:  Terms, Symbols and Abbreviations

ABSORBENT: Absorbent,

MAJOR ACTIVITY: Sampling; carrying out test/analysis; calibration/verification/validation; preparing the report; controlling,

ANALYSIS: Determining the identification and amount of or some of the complex compounds included in a material,

ACID: Compounds generating the hydrogen ion to the aqueous solutions,

DISPERSION (SUSPENSION): Dispersion, spread; process of dispersion of paint, water particles having very fine solid structures in water or solvent homogeneously.

BASE: Compounds generating the hydroxyl ion to the aqueous solutions,

INFO: Data,

COMPOUND: The substance featuring new specifications resulting from a combination of minimum two types of elements in given ratios,

SC: Skills and competencies,

RESIDUE (PRECIPITATE): The solid sinking to the bottom of the liquid as a result of precipitation process,

SOLUTION: The homogeneous mixture, dilution, solution generated by one or more liquids or solids dissolving in a dissolvent,

SOLVENT (DISSOLVENT): The substance dissolving a substance without changing its chemical structure,

TARE: Mass of the package or vessel weighed for net mass determination of the material; mass used in the analytical chemistry to neglect the vessel mass,

DEIONIZED WATER (DEMINERALİZED WATER): Deionized (demineralized) water derived by processing of potable water through the anionic and cation exchanger,

TEST: The study which is carried out under controllable conditions for proving a hypothesis based on determination of certain qualifications, measurement and comparison of certain quantities,

DILUTION (CONCENTRATION): Amount of material dissolved in a certain weight or volume of solution,

DISTILLATION: Sıvı karışımlardaki bileşenleri, kaynama noktaları arasındaki ayrımdan yararlanarak buharlaştırıp, yeniden yoğuşturma yoluyla birbirinden ayırma ve arıtmayı,

DISTILLED WATER: Water prepared through distillation under normal conditions or vacuum based on the deionized water or drinking water,

CPA: Corrective & Preventive Actions,

MILESTONE: The point at which the colour of the indicator changes to determine the equivalence point in the titration process,

SIEVE ANALYSIS: The separation of powder or granulated chemical substance by titration through sieves of which pinholes are dwindling for determination of granule sizes of the chemical material,

ELEMENT: Pure substances which are made of the same kind of atoms, inseparable to basic or different substances other than itself by physical and chemical means,

MINIMUM REPORTING LIMIT: The minimum measurable value with acceptable accuracy and repeatability,

MINIMUM DETECTION LIMIT: The minimum limit which can be analytically detected with approved validity,

INSTRUMENTAL ANALYSIS: The analysis method carried out by using a device,

EQUIVALENCE POINT: The point, at which the calibrated material consumes the titrated material fully in a titration process,

FIRING: The process of burning, ashing in the kiln,

VALIDATION: The procedures carried out for showing that the performance of device, equipment, method or system are in conformity with the given conditions,

GRAVIMETRIC ANALYSIS: The method of quantitative analysis including full drying, firing and measuring after the material itself or its appropriate compound is fully precipitated from a solution and transformed into residue or other heat resistant compound,

SDS: Safety Data Sheet,

TARGET VALUE: The requested value,

HETEROGENEOUS: The heterogeneousness of material dispersion and specifications,

HOMOGENEOUS: The homogeneousness of material dispersion and specifications,

ISCO:   International Standard Classification of Occupations,

INDICATOR: Chemical substance colouring within different pH ranges according to its chemical structure or substances used for determining an equivalence point or the closest point to equivalence point in a titration,

OOOHS: Occupational health and safety,

CALIBRATOR: The substance for adjusting the devices to a reference value,

CALIBRATION: Series of assays used for measuring the accuracy of the other measurement and testing device, determining the deviations and documenting by using the measurement standard or system of which accuracy is known under given conditions,

MIXTURE: The product derived by mixing one or more compounds in any ratios,

BOILING: The rapid vapourization of a liquid, which occurs when a liquid is heated to its boiling point, the temperature at which the vapour pressure of the liquid is equal to the pressure exerted on the liquid by the surrounding environmental pressure,

BOILING POINT: The temperature at which the vapour pressure of the liquid equals the pressure surrounding the liquid and the liquid changes into a vapour,

PERSONAL PROTECTIVE EQUIPMENT (PPE):  All kinds of tools, instruments, appliances and devices which are worn, put on or hold by the worker and which protect the worker from one or more hazards arising from the work and effect the health and safety of the worker, and which are designed to suit such purpose,

BLANK TEST: The sample with unknown composition other than the person supplying the sample for testing the validation of measurement process in the chemical analysis,

DRYING: Process of separating humidity built in the liquids and solids , crystalized water, water absorbed within molecules and micella by heat or vacuum plus heat treatment or humidity in the solids, liquids and gases by using some auxiliary materials,

LABORATORY The facility enabling controlled chemical analyses, tests and assays,

METHOD: Method,

HUMIDITY: Water vapour in the air, damping in the substances,

QUANTITATIVE ANALYSIS: The analysis method used for determining the concentration of components in a substance,

QUALITATIVE ANALYSIS: The analysis method used for identifying a substance,

SAMPLE: The smallest portion, piece or segment of a substance that is representative as a whole,

MEASUREMENT: Quali-quantitative separations between objects and specifications by using a measurement device,

P:   Practice test,

BLENDING: Process of mixing materials,

PARAMETER: The variable quantity defined for a special conditions,

SPARKLING: Flaring, glittering,

STRIPPER: Degree of acidity, alkalinity (0-7 acidic, 7 neutral, 7-14 basic/alkaline),

PREPARATION: Chemical compounds prepared before using in the analyses and tests,

REACTIVE: Substance which ensures a chemical reaction,

REFERENCE RANGE: The range of results of analyses carried out under the given conditions according to the substances/materials with predetermined specifications which can be sampled or taken as the basis,

STATIC ELECTRICITY: The accumulation of electrical charge on the surface of the object.

RISK ASSESSMENT: Activities carried out for detection of hazards present in or to be imported  to the workplace, analyzing and grading factors causing such hazards to become risks and risks arising from the hazards and deciding on the control measures,

FIXED WEIGHING: Procedures of weighing a pure substance as in its purest and dry form,

CENTRIFUGING: Separation and clarification of particles (solid particles) present in liquids or liquids with different densities and hard to mix by using centrifuges,

CONSUMABLE MATERIAL: Materials consumed during the laboratory activities such as chemicals, glass materials, stationery, gas, water, electricity, cleaning agents and etc.,

STANDARD (REFERENCE) SUBSTANCE/MATERIAL: Substance/material with predetermined specifications and which can be sampled or taken as the basis,

STANDARD DEVIATION: The measurement showing how much variation or dispersion from the average exists and the range of dispersion,

FILTRATION: The process of separation of solids from fluids (liquids or gases), clarifying the solution or obtaining a pure liquid product by interposing a medium through which only the fluid can pass like fabric, paper, plastic, porcelain and etc.,

T:   Theoretical test,

BLANK SAMPLE: Sample taken from the original sample to be stored,

TEST: Test, testing

TEST METHOD: The test method,

DANGER: Potential of damage or injury likely to affect the worker or work place and likely to exist in the workplace or to be caused externally,

REACTION: The state of interacting substances,

TITRATION: Slow addition of one solution of a known concentration (called a titrant) to a known volume of another solution of unknown concentration until the reaction reaches the equivalence point,

SALT: any chemical compound formed from the reaction of an acid with a base, with all or part of the hydrogen of the acid replaced by a metal or other cation,

NOS: National Occupational Standard,

VISCOSITY: A quantity expressing the magnitude of internal friction in a fluid, as measured by the force per unit area resisting uniform flow,

VOLUMETRIC ANALYSIS: A form of chemical analysis using standard solutions for the estimation of the particular constituent present in solution by titrating the one against a known volume of the other,

DETERMINATION OF DENSITY: Çeşitli analiz yöntemleri kullanılarak maddenin yoğunluğunun belirlenmesini

ifade eder.

ANNEX 3:  Ways of Horizontal and Vertical Progress in Occupation

-

ANNEX 4:  Assessor Criteria

The assessors who shall have knowledge in assessment & evaluation shall meet one of the following criteria in minimum:

  - Shall be a graduate of at least one of the Departments of Chemistry, Chemistry Teaching, Chemical Engineering of Universities and shall have minimum 3 years of experience in the occupation of Chemistry Laboratory Supervisor,

  - Shall be a graduate of at least one of the Departments of Chemistry, Chemistry Teaching, Chemical Engineering of Universities and shall have minimum 3 years of experience in teaching,

  - Shall be a graduate of the Department of Chemistry of the Vocational School and shall have minimum 5 years of experience in the occupation of Chemistry Laboratory Supervision.

The assessors who have at least one of the above mentioned qualifications and shall be assigned in the assessment & evaluation process shall be provided with the training on occupational qualification system, national occupational qualification(s) in which the person shall be assigned, related national occupational standard(s), assessment & evaluation and quality assurance in assessment & evaluation by the relevant authorized bodies.